
SECTION 08380


TRAFFIC DOORS


For best results, display hidden notes to specifier.

** NOTE TO SPECIFIER **  Eliason Corporation; swinging traffic doors.

.

This section is based on the products of Eliason Corporation, which is located at:

   P.O. Box 2128

   Kalamazoo, MI  49003

   Tel: (269) 327-7003

   Tel: (800) 828-3655

   Fax: (800) 828-3577

   Email: doors@eliasoncorp.com

   www.eliasoncorp.com

   www.restaurantdoors.net

.

The original Easy Swing(r) doors are manufactured exclusively by the Eliason(r) Corporation and are the only doors produced under the Easy Swing(r) trade name. Our suspension concept utilizes gravity and offset pivots to facilitate a safe and gentle swinging action, as well as automatic, time delayed closing without the use of springs, heavy cam castings, or other mechanical closing devices. Doors require only minimal maintenance.

.

SECTION 08380 - TRAFFIC DOORS, Copyright 2003, ARCAT, Inc.

PART 1   GENERAL

1.1 SECTION INCLUDES

** NOTE TO SPECIFIER **  Delete items below not required for project.

A. Medium to Heavy Weight Traffic Doors.

B. Hardware and accessories.

1.2 SUBMITTALS

A. Submit under provisions of Section 01300.

B. Product Data:  Manufacturer's data sheets on each product to be used, including:

1. Preparation instructions and recommendations.

2. Storage and handling requirements and recommendations.

3. Installation methods.

4. Operation and maintenance data.

C. Shop Drawings: Show fabrication and installation details; include door elevations, head, jamb, and meeting stile details including full or partial gaskets.

** NOTE TO SPECIFIER **  Delete selection samples if colors have already been selected.

1.3 DELIVERY, STORAGE, AND HANDLING

A. Store products in manufacturer's unopened packaging until ready for installation.

1.4 PROJECT CONDITIONS

A. Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's absolute limits.

1.5 WARRANTY

A. Manufacturer's standard two-year warranty that products are free of defects in material and workmanship, guaranteeing to replace (exclusive of freight and labor) parts proven defective within two years after date of shipment to purchaser.

PART 2   PRODUCTS

2.1 MANUFACTURERS

A. Acceptable Manufacturer:  Eliason Corporation; P.O. Box 2128, Kalamazoo, MI  49003.  ASD. Tel: Tel: (800) 828-3655.  Fax: (800) 828-3577.  Email: doors@eliasoncorp.com  www.eliasoncorp.com, www.restaurantdoors.net, and www.supermarketdoors.net

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

B. Substitutions:  Not permitted.

** NOTE TO SPECIFIER **  In addition to configurations described below, many other options are available. Contact the manufacturer for a full listing of available styles; additional styles include full-length panels with perforated window areas, full-length panels truncated at top or bottom, and curved cafe-length panels.

2.2 MEDIUM TO HEAVY TRAFFIC DOORS

A. Medium to Heavy Traffic Doors: 3/4 inch (19 mm) exterior grade solid wood core; 1 inch (25 mm) total thickness; light to medium duty. 

** NOTE TO SPECIFIER **  Delete all but one of the following facings.

1. Facing: Reinforcing metal plates. (Model EHH-3)

a. Full Length Panels: 20 gauge (.97 mm) stainless steel both sides; stainless steel top hinge covers. 

** NOTE TO SPECIFIER **  Delete one of the following two windows. 9 by 14 inch windows standard.

2. Window Size: 9 inches (229 mm) wide by 14 inches (356 mm) high.

** NOTE TO SPECIFIER **  Delete one of the following two window selections. Black rubber molding is standard.

3. Window Molding: Black rubber molding.

** NOTE TO SPECIFIER **  Delete two of the following three glazings. Clear acrylic is standard.

4. Glazing: Clear acrylic.

** NOTE TO SPECIFIER **  Cafe and gate length doors are short doors, with a maxiumum height of 47-1/2 inches (1207 mm). Cafe doors are mounted mid-doorway; gate doors are mounted 4 to 5 inches (102 to 127 mm) above floor line. Delete if not required.

** NOTE TO SPECIFIER **  Hardware and accessories in this section are not available for flexible doors.

2.3 HARDWARE AND ACCESSORIES

** NOTE TO SPECIFIER **  Double action hinges included with every door.

A. Hinges: Double Action Easy Swing(r) hidden proprietary hinges.

** NOTE TO SPECIFIER **  Delete one of the following two finishes; zinc coating is standard.

1. Finish: Zinc coated.

** NOTE TO SPECIFIER **  Jamb guards are optional for all doors except cafe doors and Model DSP-3; enable medium or heavy duty applications for light or medium duty doors, and provide added protection for heavy duty applications. Delete if not required.

PART 3   EXECUTION

3.1 EXAMINATION

A. Do not begin installation until substrates have been properly prepared.

B. Verify jambs plumb and square.

C. If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

3.2 PREPARATION

A. Clean surfaces thoroughly prior to installation.

B. Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

3.3 INSTALLATION

A. Install in accordance with manufacturer's instructions.

B. Minimum jamb construction of double studded 2 by 4 wood construction or equivalent.

C. Reinforce hollow metal jambs at hardware locations.

D. Steel channel jambs are required for heavy duty traffic doors.

3.4 PROTECTION

A. Protect installed products until completion of project.

B. Touch-up, repair or replace damaged products before Substantial Completion.


END OF SECTION


08380-2

